Chemical Spill Response (General Requirements)

All chemical spills of greater than 1Litre (1 quart) must be reported. A spill of any amount of the following substances must also be reported:

Extremely flammable substances such as Acetone and Alcohol

Extremely corrosive substances such as Sulphuric Acid

Extremely toxic substances such as Cyanides, Sulphides, & Pesticides

All compressed gas releases

All personal contaminations

SPILL RESPONSE PROCEDURE

1. Get away.  The first person to notice the spill or leak should get away from the immediate area of the spill in order to evaluate the situation without exposing him or herself.  Obviously, this might not be needed if the nature of the spill is known and is minor.

2. Identify the spill to the extent possible.  Do so without being at risk. This includes identifying:

a) the type of material spilled (e.g. from the label);

b) the extent of the spill and whether the leak has stopped;

c) when two chemicals are involved -- could react with each other;

d) and any unusual features such as foaming, odour, fire, etc.

3. Is this an emergency?  Leaks that can be cleaned up by personnel on the spot or by maintenance personnel are not emergencies. If you are not sure, treat it an emergency.

4. Get help for all but very minor spills.  In emergency situations, the amount of training determines the degree of participation in the cleanup. If necessary, contact the Emergency Spill Response number ###-#### for additional personnel and equipment support.

5.  Identify the material spilled.  Is it flammable, combustible, toxic and volatile, toxic or corrosive and nonvolatile, or an oxidizing agent?  The label and Material Safety Data Sheet for the product should give information on safe cleanup.

6. Plan how to clean up the spill or leak.  Procedures for common types of spills and leaks should be part of the organization's Emergency Response Plan and training.

7. Obtain the proper spill control materials.  This would include spill control materials, such as sorbents, spark-proof tools, skimmers, booms, pillows, etc.

8. Put on appropriate personal protective equipment.  This can include respirators, gloves, goggles, etc., as needed.

Page 9-45a

9. Stop the source of the spill or leak.  This can include turning off the valve, patching a leaky hose, draining a tank, or up-righting a knocked over container of liquid.

10. Stop the spill from spreading.  This can include use of appropriate absorbent/ containment materials such as booms, shutting down ventilation systems to keep gases and vapors from spreading, and plugging drains to prevent contamination of the water supply.

11. Clean up the spill using the appropriate sorbent materials and equipment. Remember, sorbents are primarily suited for cleaning up small spills and the residues left over after a large spill.

12. Dispose of contaminated materials properly.  Contaminated spill control materials and disposable personal protective clothing may have to be disposed of as hazardous waste.  Contaminated tools and non-disposable personal protective equipment should be safely decontaminated.

13. File an incident report.  The incident report should be filed with the person Safety, Health and Training Coordinator, for every spill, including non-emergency (incidental) spills.

SPILL KIT LOCATIONS

Kit 1 is located at the 			 – department ##

Kit 2 is located at the 			– department ##

Kit 3 is located in the 			– department ##

NOTE: Spill kits are for emergency spills only

NOTE: If a spill occurs outdoors, the Ministry of the Environment must be informed (204-944-4888). Photo of the spill and cleanup procedure must be taken to show due diligence.

Page 9-45b