SAFETY AUDIT

Date:  			/		Shift:

Area:  Paint/Pretreatment		FLS:  					Area Supervisor:

| Items to Inspect | Satisfactory | Comments | If No, then . . . |
| --- | --- | --- | --- |
|  | Yes | No |
| Work Order # | Date Completed |
| SAFETY/EMERGENCY EQUIPMENT |
|  | All personal protective equipment is being worn where required. |
|  | All chemical/paint containers labeled as per WHMIS requirements. |
|  | Containers with hazardous materials have lids on them. |
|  | MSDS boxes have labels in them along with the MSDS binder. |
|  | Eye wash station, emergency shower are in good working condition and free of obstructions. |
|  | Emergency spill containment kit free of obstructions. |
|  | All warning signs are in their proper location and are clearly legible (no smoking) |
|  | Flammable area, wear respirator throughout the area. |
|  | All emergency track stop switches are clear of obstructions. |
|  | AREA HOUSEKEEPING |
|  | Stock and material arranged and stored in an orderly manner so not to create any hazards. |
|  | Storage area for painter’s coveralls and personal protective equipment is clean and orderly. |
|  | Are all electrical panels closed and clear of obstructions. |
|  | All garbage’s are dumped daily. |
|  | Chemical test area is clean and organized. |
|  | Floors are swept and piles picked up in the blast machine area. |
|  | Floor is swept south of the Wheelabrator. |
|  | Aisles are clear of obstructions to allow pedestrian and/or forklift traffic to pass through the area between the cure oven and wash area. |
|  | Floors are clean and dry not presenting any slipping hazards. |
|  | FIRE EXTINGUISHERS |
|  | Location south east corner of powder room, north east corner of powder room, W/B mezanine, W/B pit. |
|  | Must be accessible. |
|  | Location signs are visible. |
|  | Maintenance checks are every two months. |
|  | OTHER EQUIPMENT |
|  | All tools are in good working condition and clean and when not in use they are stored in correct locations. |
|  | All guards and/or rails are being used and in good working order. |
|  | No lights are burnt out. |
|  | Plugs, switches, cords in good condition. |
|  | Is the unloading area clear of air hoses, tape, paper, sanding discs, tack cloths and any other needed equipment for doing touch ups. |
|  | OTHER SAFETY CONCERNS |